## Module 1. Form 1.
12 Quality System Essentials (QSE) | 21 CFR 820 Quality System Regulation (QSR) | ISO 15189:2012
Organization | Management Responsibility | Management requirements
4.1 Organization and management responsibility
4.2 Quality management system
4.15 Management Review
Personnel | Personnel
Equipment
Purchasing and Inventory | Purchasing Controls | 4.6 External services and supplies
Process Control | Acceptance Activities Production and Process Controls
Document and Records | Document Controls Records | 4.3 Document control
4.13 Control of records
Information Management
Occurrence Management | Nonconforming Product Corrective and Preventive Actions | 4.8 Resolution of complaints
4.9 Identification and control of nonconformities
4.10 Corrective action
4.11 Preventive action
Assessments | Quality Audit | 4.14 Evaluation and audits
Process Improvement |  | 4.12 Continual improvement
Facilities and Safety
Service and Satisfaction | Servicing | 4.4 Service agreements
Handling, Storage, Distribution and Installation
4.7 Advisory services
4.5 Examination by referral laboratories
Design Controls
Labeling and Packaging controls
Identification and Traceability

## Module 2. Form 2.
LEADERSHIP ACTION ITEMS: List the following: |  | Complete
1. | Provide leadership support for creating an LDT structure
2. | Establish communication pathways to ensure continuous communication throughout the process
3 | Form an LDT Oversight Team
a. Leader
b. Team

## Module 2. Form 3.
TRAINING ACTION ITEMS: List the following:
Complete
1 | Identify subject matter experts to serve as trainers
2 | Identify LDT team members who require training
3 | List all pertinent organizational guidance documents, regulations and specific requirements to be included in training
a. 21 CFR 820
4 | Develop training modules
5 | Schedule training

## Module 2. Form 4.
12 Quality System Essentials (QSE)
Organization
Customer Focus
Facilities and Safety
Personnel
Purchasing and Inventory
Equipment
Process Management
Document and Records
Information Management
Nonconforming Event Management
Assessments
Continual Improvement

## Module 2. Form 5.
PRE-ASSESSMENT AND DOCUMENT CONTROL ACTION ITEMS: Confirm the following:
Document all activities not previously implemented:
Choose all that apply
| QSE Clause Example | Policy | Procedure | Process | Training
1 | Occurance Management
2 | Assessments
3
4

## Module 2. Form 6.
12 Quality System Essentials (QSE) | 21 CFR 820 Quality System Regulation (QSR)
Organization | Management Responsibility
Customer Focus
Facilities and Safety
Personnel | Personnel
Purchasing and Inventory | Purchasing Controls
Equipment
Process Management | Process Controls
Production and Acceptance Activities
Design Controls
Identification and Traceability
Document and Records | Document Controls
Information Management
Nonconforming Event Management | Nonconforming Product
Assessments | Quality Audit
Continual Improvement

## Module 2. Form 7
12 Quality System Essentials (QSE) | 21 CFR 820 Quality System Regulation (QSR) | ISO 15189:2012
Organization | Management Responsibility | Management requirements
4.1 Organization and management responsibility
4.2 Quality management system
4.15 Management Review
Personnel | Personnel
Equipment
Purchasing and Inventory | Purchasing Controls | 4.6 External services and supplies
Process Control | Acceptance Activities Production and Process Controls
Document and Records | Document Controls Records | 4.3 Document control
4.13 Control of records
Information Management
Occurrence Management | Nonconforming Product Corrective and Preventive Actions | 4.8 Resolution of complaints
4.9 Identification and control of nonconformities
4.10 Corrective action
4.11 Preventive action
Assessments | Quality Audit | 4.14 Evaluation and audits
Process Improvement |  | 4.12 Continual improvement
Facilities and Safety
Service and Satisfaction | Servicing | 4.4 Service agreements
Handling, Storage, Distribution and Installation
4.7 Advisory services
4.5 Examination by referral laboratories
Design Controls
Labeling and Packaging controls
Identification and Traceability

## Module 2. Form 8
PRE-ASSESSMENT AND DOCUMENT CONTROL ACTION ITEMS: Confirm the following:
Document all QSR Activities NOT implemented that would otherwise adhere to standard:
Choose all that apply
| QSR Clause | Policy | Procedure | Process | Training
1 | Purchasing
2
3
4

## Module 3. Form 9.
21 CFR Design Control | Description
Design and Development Planning | Procedure: Set of processes that transforms requirements for an object into more detained requirements. Such as the plan, design, development, execution, involvement and interface with different groups and responsibility (ISO 9001)
Design Input | Procedure: Product characteristics, requirements, intended use, user needs and the process to manage and resolve discrepancies is defined. The process includes, responsibility approval, documentation and rational at every step
Design Output | Procedure: The output consists of technical, performance, specification and verification that the design successfully transferred into the testing environment
Design Review | Procedure: Describes the process to review all phases of the design with, documentation and approval all at each step. Establish and maintain procedures for the identification, documentation, and validation, verification, review, and approval of design changes before implementation
Design * Verification | Procedure: Describes the process that will ensure the test is safe, effective for use, conforms to the needs of the user and meets its intended use. The process to ensure the design works as intended, has been verified, documented and approved at each activity
Design Validation | Procedure: The process operates as intended under defined operating conditions
Design Transfer | Procedure: Describes the process of accurate transfer of the design into manufacturing requirements
Design Changes | Procedure: Describes the process to identify, track, document and approval changes prior to each activity
Design History | A means to track processing information pertaining to design, development, testing and links with all other design controls to demonstrate traceability and approval for each LDT manufactured
Medical Device Reporting (MDR) | Procedure: Describes the process to identify, document and report an adverse event as an outcome of the test

## Module 3. Form 10
DESIGN CONTROL ACTION ITEMS: Directions For each element of design control as depicted in Figure. 21, develop pertinent guidance documents describing LDT activities specific to the processes performed in the lab. Example:
Document all QSR Activities NOT implemented that would otherwise adhere to standard:
Choose all that apply
Design Control | Policy | Procedure | Process | Training
Design planning and development
Design input
Design output
Design review
Design verification
Design validation
Design transfer
Design changes
Design history
Design transfer

## Module 3. Form 11
PROCESS CONTROL ACTION ITEMS: Performance Characteristics
Use the following example to consider the clinical validity of the LDT test protocol
Performance Characteristics | Reference Range
1. Linearity Study
2. Analytical Sensitivity
3. Precision
4. Analytical Specificity
5. Accuracy Comparison of Methods
6. Reference Intervals/cut off points
For more information regarding Clinical Validity, see CLIA regulations website.

## Module 3. Form 12
Risk Classification
Check the appropriate risk:
Risk | Choose the Classification that applies:
Low Risk | Class I
Moderate Risk | Class II
High Risk | Class III

## Module 4 Form 13
PROCESS VALIDATION ACTION ITEMS: Validation Protocol
Confirm implementation of the following
Completed:
1 | Validation protocol
2 | Process Qualification
3 | Operational Qualification
4 | Performance Qualification
5 | Validation Summary and Approval

## Module 5. Form 14
Step | Method
1 | Understand the requirements
2 | Cross reference the existing 12 Quality System Essentials to match the common 21 CFR 820 clauses
3 | Perform an initial assessment to determine current laboratory policies, procedures and processes
4 | Develop and implement policies, procedures, processes that describe direction for each requirement
5 | Implement tasks associated with stage gate, agile hybrid methodology and assign a responsible person(s) to perform a formal go/no go decision at each handoff of design controls
6 | Develop a Quality Management System framework to include all the above